ANALYZER STATE REPORT

To diagnose and solve a technical problem on a remote device:

- Fill the information required in page 2 of this document. Normal conditions would be similar to those of the Quality Control report.

- Create a zip file called “yyyy_mm_#XXXXXXXX_State_Report.zip” containing:

  - The Analyzer State Report

  - Config file in D:\Vistachrom\#XXXXXXXX

  - Program file in D:\Vistachrom\#XXXXXXXX

  - “.chrom” files in D:\Vistachrom\#XXXXXXX\Data or E:\Vistachrom\#XXXXXXX\Data

  - Error files in E:\Vistachrom\#XXXXXXX\Errors

- Send an e-mail to support@chromatotec.com with the zip file attached, describing the different modifications and operations done recently on your system.

| Identification | Company |  |
| --- | --- | --- |
|  | Country |  |
|  | Serial Number (SN) |  |
|  | Analyzer Model |  |
|  | Vistachrom version |  |
|  | Chip version of the CPU board |  |
| Gas supply | Carrier gas |  |
|  | Source (if generator, provide SN) |  |
|  | Pressure (bar) |  |
|  | Quality |  |
|  | Other gas used |  |
|  | Source (if generator, provide SN) |  |
|  | Pressure (bar) |  |
|  | Quality |  |
| Communication | Log on, clicking on |  |
|  | Front panel LEDs lit |  |
| Team Viewer | ID |  |
|  | Password |  |
| Running parameters | Sampling flow (mL/min) |  |
|  | Head column pressure (hPa) |  |
|  | Column oven temperature (°C) |  |
|  | Detector temperature (°C) |  |
|  | Do you hear "pshhh" when the injection valve is actuating? |  |
|  | ΔP = P ambient - P critical (hPa) |  |
| Internal calibration oven | Permanent flow (mL/min) |  |
|  | Total dilution (mL/min) |  |
|  | Temperature (°C) |  |
| Permeation tube | Serial Number |  |
|  | Standard |  |
|  | Retention time of the standard (s) |  |
|  | Stability over time |  |
| Detection | Are the FID/FPD flames lit? |  |
|  | H2 flow (mL/min) |  |
|  | Air flow (mL/min) |  |
|  | Is the PID lamp lit? |  |
|  | Level of solution in the electrochemical detector |  |
|  | Presence of bubbles around the electrochemical detector grid |  |

In stand by position, click manually on the valve picture in Vistachrom to change the valve position.

For trap instruments only. In stand by position, with the sampling pump ON. Read the ambient pressure on the Vistachrom synoptic. Then actuate manually the pneumatic valve, clicking on the valve picture on Vistachrom. Read the critical pressure on the synoptic.

Perform the mirror test.